## Table_B_2
Table B.2 Major Disturbances and Unusual Occurrences, 2020
Year | Month | Event Date and Time | Restoration Date and Time | Duration | Utility/Power Pool | NERC Region | Area Affected | Type of Disturbance | Loss (megawatts) | Number of Customers Affected
2020 | 1 | 01/09/2020 11:07 PM | 01/09/2020 11:18 PM | 0 Hours, 11 Minutes | Entergy Transmission Control Center - South | SPP RE | Arkansas: | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-System Operations | Unknown | Unknown
2020 | 1 | 01/09/2020 11:07 PM | 01/09/2020 11:19 PM | 0 Hours, 12 Minutes | Entergy - Transmission Operations Engineering | SPP RE | Arkansas: Yell County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Severe Weather/Transmission Interruption | 0 | 0
2020 | 1 | 01/11/2020 2:25 AM | 01/11/2020 7:56 AM | 5 Hours, 31 Minutes | Entergy - Transmission Operations Engineering | SPP RE | Arkansas: Cross County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Severe Weather/Transmission Interruption | 22 | 7541
2020 | 1 | 01/11/2020 3:30 AM | 01/11/2020 5:30 PM | 14 Hours, 0 Minutes | Entergy Corp | SPP RE | Arkansas: Texas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 68138
2020 | 1 | 01/11/2020 12:50 PM | 01/12/2020 1:33 PM | 24 Hours, 43 Minutes | Southern Company | SERC | Alabama: Georgia: Mississippi: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 219 | 30715
2020 | 1 | 01/11/2020 1:20 PM | . . | . Hours, . Minutes | Tennessee Valley Authority | SERC | Tennessee: | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather | 4 | Unknown
2020 | 1 | 01/11/2020 11:02 PM | 01/12/2020 2:01 AM | 2 Hours, 59 Minutes | Duke Energy Carolinas | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 66475
2020 | 1 | 01/17/2020 5:28 AM | 01/17/2020 10:13 AM | 4 Hours, 45 Minutes | Pacific Gas & Electric Co | WECC | California: Humboldt County; | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather/Transmission Interruption | 87 | 67864
2020 | 1 | 01/24/2020 4:34 AM | . . | . Hours, . Minutes | California Department of Water Resources | WECC | California: | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 0 | 0
2020 | 1 | 01/30/2020 3:01 AM | 01/30/2020 4:36 AM | 1 Hours, 35 Minutes | Western Area Power Administration - Upper Great Plains Region | MRO | North Dakota: Burleigh County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 75 | 0
2020 | 2 | 02/06/2020 1:30 PM | 02/07/2020 8:08 PM | 30 Hours, 38 Minutes | Duke Energy Carolinas | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather/Transmission Interruption | Unknown | 89500
2020 | 2 | 02/06/2020 2:29 PM | 02/07/2020 12:44 PM | 22 Hours, 15 Minutes | Duke Energy Progress | SERC | North Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather/Distribution Interruption | Unknown | 284256
2020 | 2 | 02/07/2020 8:48 AM | . . | . Hours, . Minutes | Dominion Energy VA | SERC | Virginia: North Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 87000
2020 | 2 | 02/07/2020 11:00 AM | . . | . Hours, . Minutes | Exelon Corporation/PECO | RF | Pennsylvania: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather/Distribution Interruption | Unknown | 52000
2020 | 2 | 02/07/2020 2:42 PM | 02/10/2020 9:25 AM | 66 Hours, 43 Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | New York: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 7500
2020 | 2 | 02/07/2020 4:25 PM | 02/08/2020 12:00 PM | 19 Hours, 35 Minutes | ISO New England | NPCC | Connecticut: Maine: Massachusetts: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 123359
2020 | 2 | 02/09/2020 9:30 AM | 02/09/2020 9:40 PM | 12 Hours, 10 Minutes | Pacific Gas & Electric Co | WECC | California: Alameda County, Contra Costa County, El Dorado County, Nevada County, Placer County, Sierra County, Santa Clara County, Napa County, Marin County, Santa Cruz County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 500 | 145000
2020 | 2 | 02/11/2020 7:13 AM | 02/11/2020 4:00 PM | 8 Hours, 47 Minutes | Portland General Electric Co | WECC | Oregon: Clackamas County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | Unknown | 0
2020 | 2 | 02/17/2020 4:00 AM | . . | . Hours, . Minutes | Pacific Gas & Electric Co | WECC | Northern and Central California; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 91 | 70000
2020 | 3 | 03/01/2020 8:00 AM | . . | . Hours, . Minutes | Somerset Operating Company | NPCC | Western NY | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 675 | Unknown
2020 | 3 | 03/01/2020 11:27 AM | 03/01/2020 9:47 PM | 10 Hours, 20 Minutes | Entergy - Transmission Operations Engineering | SERC | Mississippi: Rankin County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 19 | 3136
2020 | 3 | 03/12/2020 1:03 AM | 03/12/2020 3:00 AM | 1 Hours, 57 Minutes | PECO Energy Co | RF | Pennsylvania: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 40 | 15864
2020 | 3 | 03/16/2020 12:01 PM | 03/16/2020 1:10 PM | 1 Hours, 9 Minutes | Pacific Gas & Electric Co | WECC | California: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 165 | 110800
2020 | 3 | 03/18/2020 7:09 AM | . . | . Hours, . Minutes | Pacificorp | WECC | Utah: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Natural Disaster | 237 | 73000
2020 | 3 | 03/24/2020 2:55 AM | 03/24/2020 6:50 AM | 3 Hours, 55 Minutes | ISO New England | NPCC | Connecticut: Massachusetts: Maine: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 51026
2020 | 3 | 03/26/2020 9:29 PM | 03/26/2020 9:47 PM | 0 Hours, 18 Minutes | FirstEnergy Corp | RF | Ohio: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 19 | 11964
2020 | 3 | 03/29/2020 8:27 PM | 03/29/2020 11:04 PM | 2 Hours, 37 Minutes | Entergy - Transmission Operations Engineering | SERC | Mississippi: Panola County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 4 | 1558
2020 | 3 | 03/31/2020 11:45 AM | 03/31/2020 8:00 PM | 8 Hours, 15 Minutes | Southern Company | SERC | Alabama: Georgia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 412 | 57744
2020 | 4 | 04/02/2020 1:37 PM | 04/02/2020 2:43 PM | 1 Hours, 6 Minutes | Nebraska Public Power District | MRO | Nebraska: York County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 5 | Unknown
2020 | 4 | 04/05/2020 3:46 PM | 04/05/2020 5:35 PM | 1 Hours, 49 Minutes | Pacific Gas & Electric Co | WECC | California: Stanislaus County; | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather | 7 | 6814
2020 | 4 | 04/07/2020 11:39 PM | 04/07/2020 11:46 PM | 0 Hours, 7 Minutes | Bonneville Power Administration | WECC | Washington: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 4 | 04/08/2020 1:21 AM | 04/08/2020 3:56 AM | 2 Hours, 35 Minutes | Ohio Edison Co | WECC | Ohio: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 82509
2020 | 4 | 04/08/2020 9:57 PM | 04/09/2020 8:59 AM | 11 Hours, 2 Minutes | Duke Energy Midwest | RF | Ohio: Kentucky: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 78314
2020 | 4 | 04/08/2020 10:03 PM | 04/09/2020 7:36 AM | 9 Hours, 33 Minutes | Duke Energy Midwest | RF | Indiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 93000
2020 | 4 | 04/09/2020 7:25 PM | 04/10/2020 3:30 AM | 8 Hours, 5 Minutes | CenterPoint Energy | TRE | Texas: Harris County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 95000
2020 | 4 | 04/09/2020 7:40 PM | 04/11/2020 10:00 PM | 50 Hours, 20 Minutes | ISO New England | NPCC | Maine: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 340000
2020 | 4 | 04/11/2020 11:24 AM | 04/11/2020 11:42 AM | 0 Hours, 18 Minutes | Pacificorp | WECC | Wyoming: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 4 | 04/12/2020 5:00 PM | 04/14/2020 1:25 AM | 32 Hours, 25 Minutes | Southern Company | SERC | Mississippi: Alabama: Georgia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 448 | 62828
2020 | 4 | 04/12/2020 6:13 PM | 04/13/2020 3:23 PM | 21 Hours, 10 Minutes | American Electric Power - (SPP Reliability Region) | TRE | Texas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 63289
2020 | 4 | 04/12/2020 8:30 PM | 04/14/2020 9:00 AM | 36 Hours, 30 Minutes | Arkansas Electric Coop Corp | SPP RE | Arkansas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 51000
2020 | 4 | 04/12/2020 8:45 PM | . . | . Hours, . Minutes | Entergy Corp | SPP RE | Arkansas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 95318
2020 | 4 | 04/12/2020 9:28 PM | 04/15/2020 12:00 PM | 62 Hours, 32 Minutes | American Electric Power - (RFC Reliability Region) | RF | Virginia: West Virginia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 104000
2020 | 4 | 04/13/2020 12:45 AM | 04/13/2020 3:00 AM | 2 Hours, 15 Minutes | Tennessee Valley Authority | SERC | Tennessee: Hamilton County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 120000
2020 | 4 | 04/13/2020 3:30 AM | 04/14/2020 6:18 PM | 38 Hours, 48 Minutes | Duke Energy Carolinas | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 216400
2020 | 4 | 04/13/2020 7:31 AM | 04/13/2020 2:00 PM | 6 Hours, 29 Minutes | Duke Energy Progress | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | Unknown
2020 | 4 | 04/13/2020 8:08 AM | . . | . Hours, . Minutes | Dominion Energy South Carolina | SERC | South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 72233
2020 | 4 | 04/13/2020 10:25 AM | 04/13/2020 6:55 PM | 8 Hours, 30 Minutes | Dominion Energy VA | SERC | North Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 95000
2020 | 4 | 04/13/2020 1:05 PM | 04/14/2020 4:00 PM | 26 Hours, 55 Minutes | ISO New England | NPCC | Connecticut: Maine: Massachusetts: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 68476
2020 | 4 | 04/20/2020 12:59 AM | 04/20/2020 8:40 AM | 7 Hours, 41 Minutes | Southern Company | SERC | Alabama: Mississippi: Georgia: Florida: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 552 | 77341
2020 | 4 | 04/23/2020 4:30 AM | 04/23/2020 7:00 AM | 2 Hours, 30 Minutes | Entergy Corp | SERC | Mississippi: Arkansas: Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 55184
2020 | 4 | 04/23/2020 8:00 AM | 04/23/2020 11:40 PM | 15 Hours, 40 Minutes | Southern Company | SERC | Alabama: Georgia: Mississippi: Florida: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 375 | 52163
2020 | 4 | 04/24/2020 9:00 PM | 04/24/2020 9:33 PM | 0 Hours, 33 Minutes | Pacific Gas & Electric Co | WECC | California: Placer County, Nevada County; | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-System Operations | 5 | 945
2020 | 4 | 04/26/2020 1:38 AM | . . | . Hours, . Minutes | Florida Power & Light | FRCC | Florida: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 49999
2020 | 4 | 04/28/2020 8:01 PM | 04/28/2020 11:21 PM | 3 Hours, 20 Minutes | Entergy - Transmission Operations Engineering | TRE | Texas: Jefferson County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 14 | 1
2020 | 4 | 04/29/2020 5:55 AM | 04/29/2020 7:00 PM | 13 Hours, 5 Minutes | CenterPoint Energy Houston Electric, LLC | TRE | Texas: Harris County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 146660
2020 | 4 | 04/29/2020 6:00 AM | 04/29/2020 12:31 PM | 6 Hours, 31 Minutes | Entergy Corp | SERC | Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 77933
2020 | 4 | 04/30/2020 3:00 PM | . . | . Hours, . Minutes | Exelon Corporation/PECO | RF | Pennsylvania: Bucks County, Chester County, Delaware County, Montgomery County, Philadelphia County, York County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 78007
2020 | 5 | 05/04/2020 11:59 AM | 05/07/2020 8:00 PM | 80 Hours, 1 Minutes | Tennessee Valley Authority | SERC | Tennessee: Davidson County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 500 | 130000
2020 | 5 | 05/13/2020 5:12 AM | 05/13/2020 2:07 PM | 8 Hours, 55 Minutes | Bonneville Power Administration | WECC | Washington: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 5 | 05/15/2020 5:55 PM | 05/17/2020 6:00 PM | 48 Hours, 5 Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | New York: Saratoga County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 52
2020 | 5 | 05/22/2020 4:35 PM | 05/23/2020 3:29 PM | 22 Hours, 54 Minutes | Duke Energy Carolinas | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 108190
2020 | 5 | 05/24/2020 4:45 PM | . . | . Hours, . Minutes | Oklahoma Gas & Electric Co | SPP RE | Central Oklahoma | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 54000
2020 | 5 | 05/25/2020 10:58 AM | 05/25/2020 1:00 PM | 2 Hours, 2 Minutes | LCRA Transmission Services Corporation | TRE | Texas: Kerr County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 8 | 3745
2020 | 5 | 05/27/2020 5:15 PM | 05/29/2020 6:30 AM | 37 Hours, 15 Minutes | CenterPoint Energy Houston Electric, LLC | TRE | Texas: Harris County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 382000
2020 | 5 | 05/27/2020 5:20 PM | . . | . Hours, . Minutes | CenterPoint Energy | TRE | Texas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 273269
2020 | 5 | 05/29/2020 5:01 PM | 05/29/2020 6:57 PM | 1 Hours, 56 Minutes | FirstEnergy Corp | RF | Pennsylvania: Warren County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 6 | 06/03/2020 12:30 PM | 06/03/2020 6:00 PM | 5 Hours, 30 Minutes | Exelon Corporation/PECO | RF | Pennsylvania: Bucks County, Chester County, Delaware County, Montgomery County, Philadelphia County, York County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 708000
2020 | 6 | 06/03/2020 1:00 PM | 06/06/2020 4:30 PM | 75 Hours, 30 Minutes | Public Service Electric & Gas | RF | New Jersey: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 80 | 87000
2020 | 6 | 06/03/2020 1:36 PM | 06/03/2020 4:30 PM | 2 Hours, 54 Minutes | Jersey Central Power & Lt Co | RF | New Jersey: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 78079
2020 | 6 | 06/09/2020 11:21 AM | 06/09/2020 12:01 PM | 0 Hours, 40 Minutes | Bonneville Power Administration | WECC | Washington: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 6 | 06/10/2020 12:22 PM | 06/10/2020 5:00 PM | 4 Hours, 38 Minutes | Consumers Energy Co | RF | Michigan: Gratiot County, Lake County, Missaukee County, Benzie County, Leelanau County, Manistee County, Wexford County, Montcalm County, Kent County, Ottawa County, Van Buren County, St. Joseph County, Arenac County, Saginaw County, Calhoun County, Branch County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 270000
2020 | 6 | 06/10/2020 5:24 PM | 06/11/2020 6:00 PM | 24 Hours, 36 Minutes | American Electric Power - (RFC Reliability Region) | RF | Ohio: Indiana: Kentucky: West Virginia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 85822
2020 | 6 | 06/10/2020 7:30 PM | . . | . Hours, . Minutes | Detroit Edison Co | RF | Michigan: Oakland County, Macomb County, Wayne County, Sanilac County, Tuscola County, Huron County, Lapeer County, Livingston County, Monroe County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 237000
2020 | 6 | 06/27/2020 4:00 PM | 06/28/2020 2:27 AM | 10 Hours, 27 Minutes | Southern Company | SERC | Alabama: Georgia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 33480 | 78109
2020 | 6 | 06/29/2020 2:32 PM | 06/29/2020 4:35 PM | 2 Hours, 3 Minutes | Entergy - Transmission Operations Engineering | SPP RE | Arkansas: Garland County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 7 | 07/01/2020 7:26 PM | 07/01/2020 7:44 PM | 0 Hours, 18 Minutes | FirstEnergy Corp | RF | Pennsylvania: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 32 | 2013
2020 | 7 | 07/02/2020 8:30 PM | . . | . Hours, . Minutes | California Department of Water Resources | WECC | California: Butte County; | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 0 | 0
2020 | 7 | 07/07/2020 11:38 AM | 07/07/2020 6:24 PM | 6 Hours, 46 Minutes | Los Angeles Department of Water & Power | WECC | California: Los Angeles County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 7 | 07/07/2020 1:09 PM | 07/08/2020 8:17 AM | 19 Hours, 8 Minutes | Public Service Company of Colorado | WECC | Colorado: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 7 | 07/07/2020 7:17 PM | 07/07/2020 11:49 PM | 4 Hours, 32 Minutes | American Electric Power - (RFC Reliability Region) | RF | West Virginia: Wyoming County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Severe Weather/Transmission Interruption | Unknown | Unknown
2020 | 7 | 07/08/2020 6:45 PM | . . | . Hours, . Minutes | California Department of Water Resources | WECC | California: | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 0 | 0
2020 | 7 | 07/11/2020 4:55 AM | . . | . Hours, . Minutes | California Department of Water Resources | WECC | California: | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 0 | 0
2020 | 7 | 07/11/2020 9:30 PM | . . | . Hours, . Minutes | Southwest Power Pool, Inc. | SPP RE | Oklahoma: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 94700
2020 | 7 | 07/11/2020 11:30 PM | 07/12/2020 6:30 AM | 7 Hours, 0 Minutes | Oklahoma Gas & Electric Co | SPP RE | Oklahoma: Arkansas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 68000
2020 | 7 | 07/12/2020 4:30 AM | 07/13/2020 5:00 AM | 24 Hours, 30 Minutes | Oncor Electric Delivery Company LLC | TRE | Texas: Collin County, Dallas County, Denton County, Rockwall County, Tarrant County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 48000
2020 | 7 | 07/19/2020 10:30 AM | . . | . Hours, . Minutes | Somerset Operating Company | NPCC | New York: Niagara County | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 675
2020 | 7 | 07/19/2020 2:30 PM | 07/21/2020 6:48 PM | 52 Hours, 18 Minutes | Detroit Edison Co | RF | Michigan: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 158500
2020 | 7 | 07/22/2020 11:30 AM | 07/22/2020 2:19 PM | 2 Hours, 49 Minutes | FirstEnergy Corp | RF | West Virginia: Tucker County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 7 | 07/25/2020 7:58 PM | 07/27/2020 7:00 PM | 47 Hours, 2 Minutes | American Electric Power - Texas | TRE | Texas: Nueces County, Kleberg County, Cameron County, Willacy County, Hidalgo County, Starr County, Kenedy County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 201208
2020 | 7 | 07/25/2020 9:00 PM | 07/26/2020 4:00 PM | 19 Hours, 0 Minutes | Magic Valley Electric Cooperative, Inc. | TRE | Texas: Hidalgo County, Cameron County, Starr County, Kenedy County, Willacy County, Brooks County, Jim Hogg County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 125 | 84000
2020 | 7 | 07/30/2020 5:54 PM | 07/30/2020 8:18 PM | 2 Hours, 24 Minutes | Western Area Power Administration - Upper Great Plains Region | MRO | Nebraska: Scotts Bluff County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 8 | 08/01/2020 11:14 AM | 08/10/2020 9:26 PM | 226 Hours, 12 Minutes | American Electric Power - Texas | TRE | Texas: Cameron County, Willacy County, Hidalgo County, Starr County; | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | Unknown | Unknown
2020 | 8 | 08/02/2020 7:43 PM | 08/02/2020 10:27 PM | 2 Hours, 44 Minutes | MidAmerican Energy Co | SERC | Illinois: Rock Island County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 8 | 08/03/2020 11:15 PM | 08/06/2020 7:00 AM | 55 Hours, 45 Minutes | Duke Energy Progress | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 340000
2020 | 8 | 08/04/2020 4:41 AM | 08/05/2020 4:26 PM | 35 Hours, 45 Minutes | Dominion Energy VA | SERC | Virginia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 508000
2020 | 8 | 08/04/2020 6:01 AM | 08/06/2020 3:30 PM | 57 Hours, 29 Minutes | North Carolina El Member Corp | SERC | North Carolina: Brunswick County, Columbus County, Pender County, Duplin County, Onslow County, Jones County, Craven County, Jones County, Beaufort County, Bertie County, Chowan County, Gates County, Perquimans County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 311 | 125987
2020 | 8 | 08/04/2020 9:00 AM | 08/05/2020 6:00 PM | 33 Hours, 0 Minutes | Delmarva Power & Light Company | RF | Delaware: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 100000
2020 | 8 | 08/04/2020 10:30 AM | . . | . Hours, . Minutes | Atlantic City Electric Co | RF | New Jersey: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 70000
2020 | 8 | 08/04/2020 11:20 AM | 08/07/2020 10:55 AM | 71 Hours, 35 Minutes | Public Service Electric & Gas | RF | New Jersey: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 60 | 75000
2020 | 8 | 08/04/2020 12:00 PM | . . | . Hours, . Minutes | Exelon Corporation/PECO | RF | Pennsylvania: Bucks County, Chester County, Delaware County, Montgomery County, Philadelphia County, York County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 137103
2020 | 8 | 08/04/2020 12:00 PM | 08/07/2020 6:00 AM | 66 Hours, 0 Minutes | Orange and Rockland Utilities, Inc. | NPCC | New York: Rockland County, Orange County, Sullivan County; New Jersey: Bergen County, Passaic County, Sussex County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 160000
2020 | 8 | 08/04/2020 12:18 PM | 08/08/2020 5:31 PM | 101 Hours, 13 Minutes | Jersey Central Power & Lt Co | RF | New Jersey: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 788000
2020 | 8 | 08/04/2020 1:00 PM | 08/04/2020 11:59 PM | 10 Hours, 59 Minutes | Long Island Power Authority | NPCC | New York: Nassau County, Suffolk County, Queens County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 3907 | 420000
2020 | 8 | 08/04/2020 1:31 PM | . . | . Hours, . Minutes | Consolidated Edison of New York, Inc. | NPCC | New York: Bronx County, Richmond County, Queens County, Kings County, Westchester County, New York County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 271119
2020 | 8 | 08/04/2020 2:00 PM | 08/08/2020 12:00 PM | 94 Hours, 0 Minutes | Central Hudson Gas & Elec Corp | NPCC | New York: Dutchess County, Orange County, Ulster County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 116818
2020 | 8 | 08/04/2020 2:35 PM | . . | . Hours, . Minutes | Avangrid/NYSEG | NPCC | New York: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 76120
2020 | 8 | 08/04/2020 2:35 PM | 08/10/2020 11:00 AM | 140 Hours, 25 Minutes | New York State Electric & Gas | NPCC | New York: Broome County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 76120
2020 | 8 | 08/04/2020 3:15 PM | 08/07/2020 10:27 AM | 67 Hours, 12 Minutes | ISO New England | NPCC | Connecticut: Massachusetts: New Hampshire: Maine: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 2000 | 1188247
2020 | 8 | 08/05/2020 5:58 PM | 08/05/2020 8:53 PM | 2 Hours, 55 Minutes | Entergy - Transmission Operations Engineering | TRE | Texas: Orange County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 89 | 19785
2020 | 8 | 08/07/2020 5:13 AM | . . | . Hours, . Minutes | Consolidated Edison of New York, Inc. | NPCC | New York: Queens County, New York County; | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident.-Severe Weather | 500 | 187068
2020 | 8 | 08/10/2020 10:00 AM | . . | . Hours, . Minutes | MidAmerican Energy Co | MRO | Iowa: Dallas County, Polk County, Warren County, Madison County, Johnson County, Scott County; Illinois: Rock Island County, Henry County, Mercer County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 950 | 300000
2020 | 8 | 08/10/2020 11:00 AM | 08/10/2020 4:00 PM | 5 Hours, 0 Minutes | Central Iowa Power Cooperative | MRO | Iowa: Webster County, Greene County, Dallas County, Hamilton County, Boone County, Polk County, Hardin County, Story County, Jasper County, Grundy County, Marshall County, Tama County, Poweshiek County, Benton County, Iowa County, Linn County, Johnson County, Jones County, Cedar County, Muscatine County, Jackson County, Clinton County, Scott County; | Uncontrolled loss of 200 Megawatts or more of firm system loads for 15 minutes or more from a single incident for entities with previous year's peak demand less than or equal to 3,000 Megawatts.-Severe Weather | 550 | Unknown
2020 | 8 | 08/10/2020 12:38 PM | . . | . Hours, . Minutes | Alliant Energy | MRO | Iowa: | Uncontrolled loss of 300 Megawatts or more of firm system loads for 15 minutes or more from a single incident.-Severe Weather | 1400 | 250000
2020 | 8 | 08/10/2020 2:30 PM | . . | . Hours, . Minutes | ComEd | SERC | Illinois: Cook County, Will County, DuPage County, Lake County, Kane County, Grundy County, LaSalle County, DeKalb County, McHenry County, Lee County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 856000
2020 | 8 | 08/10/2020 4:00 PM | 08/13/2020 3:00 PM | 71 Hours, 0 Minutes | Ameren Illinois Company | SERC | Illinois: Missouri: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 135000
2020 | 8 | 08/10/2020 10:39 PM | 08/13/2020 3:48 PM | 65 Hours, 9 Minutes | Northern Indiana Pub Serv Co | RF | Indiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 95300
2020 | 8 | 08/13/2020 1:51 PM | 08/13/2020 4:27 PM | 2 Hours, 36 Minutes | El Paso Electric | TRE | Texas: El Paso County; | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-System Operations | 218 | 57060
2020 | 8 | 08/14/2020 4:39 PM | 08/14/2020 5:42 PM | 1 Hours, 3 Minutes | Entergy - Transmission Operations Engineering | SERC | Louisiana: St. Charles Parish; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 101 | 12671
2020 | 8 | 08/14/2020 5:15 PM | 08/15/2020 9:00 PM | 27 Hours, 45 Minutes | California ISO | WECC | California: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 1120 | Unknown
2020 | 8 | 08/14/2020 6:36 PM | 08/14/2020 8:42 PM | 2 Hours, 6 Minutes | Pacific Gas & Electric Co | WECC | California: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-System Operations | 560 | 220000
2020 | 8 | 08/14/2020 6:45 PM | 08/14/2020 9:12 PM | 2 Hours, 27 Minutes | Southern California Edison Co | WECC | California: Kern County, Kings County, Los Angeles County, Orange County, Riverside County, San Bernardino County, Santa Barbara County, Tulare County, Ventura County; | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-System Operations | 1419 | 132000
2020 | 8 | 08/14/2020 8:00 PM | 08/16/2020 5:00 PM | 45 Hours, 0 Minutes | Northern States Power Co | MRO | Minnesota: Anoka County, Hennepin County, Ramsey County, Washington County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 60000
2020 | 8 | 08/15/2020 2:53 PM | 08/15/2020 8:00 PM | 5 Hours, 7 Minutes | California ISO | WECC | California: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 795 | Unknown
2020 | 8 | 08/15/2020 3:00 PM | 08/15/2020 7:45 PM | 4 Hours, 45 Minutes | Southern California Edison Co | WECC | California: Inyo County, Kern County, Los Angeles County, Orange County, Riverside County, San Bernardino County, Tulare County, Ventura County; | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-System Operations | 200 | 70000
2020 | 8 | 08/15/2020 6:25 PM | 08/15/2020 7:44 PM | 1 Hours, 19 Minutes | Pacific Gas & Electric Co | WECC | California: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-System Operations | 459 | 220000
2020 | 8 | 08/16/2020 3:44 AM | 08/17/2020 2:18 PM | 34 Hours, 34 Minutes | Pacific Gas & Electric Co | WECC | California: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 409 | 124266
2020 | 8 | 08/16/2020 5:30 PM | 08/16/2020 7:10 PM | 1 Hours, 40 Minutes | California ISO | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 712 | Unknown
2020 | 8 | 08/16/2020 8:00 PM | 08/18/2020 9:00 PM | 49 Hours, 0 Minutes | Oncor Electric Delivery Company LLC | TRE | Texas: Collin County, Dallas County, Denton County, Tarrant County, Ellis County, Kaufman County, Johnson County, Anderson County, Angelina County, Grayson County, Smith County, Wichita County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 300000
2020 | 8 | 08/17/2020 8:21 AM | 08/17/2020 9:01 AM | 0 Hours, 40 Minutes | Pacific Gas & Electric Co | WECC | California: Yuba County; | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather | 2 | 2
2020 | 8 | 08/17/2020 3:05 PM | 08/17/2020 9:24 PM | 6 Hours, 19 Minutes | California ISO | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 829 | Unknown
2020 | 8 | 08/18/2020 1:30 PM | 08/18/2020 8:30 PM | 7 Hours, 0 Minutes | California ISO | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 917 | Unknown
2020 | 8 | 08/18/2020 2:00 PM | 08/18/2020 9:00 PM | 7 Hours, 0 Minutes | NV Energy | WECC | Nevada: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 7800 | 1400000
2020 | 8 | 08/18/2020 2:30 PM | . . | . Hours, . Minutes | Arizona Public Service Co | WECC | Arizona: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 0 | Unknown
2020 | 8 | 08/18/2020 2:44 PM | 08/18/2020 3:14 PM | 0 Hours, 30 Minutes | Oncor Electric Delivery Company LLC | TRE | Texas: Culberson County, Reeves County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 205 | 238
2020 | 8 | 08/19/2020 1:27 AM | 08/19/2020 3:03 AM | 1 Hours, 36 Minutes | FirstEnergy Corp | RF | Ohio: Trumbull County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 22 | 16107
2020 | 8 | 08/19/2020 12:00 PM | 08/19/2020 9:00 PM | 9 Hours, 0 Minutes | City of Redding | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | Unknown | Unknown
2020 | 8 | 08/19/2020 2:00 PM | 08/19/2020 9:00 PM | 7 Hours, 0 Minutes | NV Energy | WECC | Nevada: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 7500 | 1400000
2020 | 8 | 08/19/2020 2:00 PM | 08/19/2020 9:00 PM | 7 Hours, 0 Minutes | Salt River Project | WECC | Arizona: Maricopa County; | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 1200 | 0
2020 | 8 | 08/20/2020 3:29 PM | 08/20/2020 3:39 PM | 0 Hours, 10 Minutes | Nebraska Public Power District | MRO | Nebraska: Custer County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 60 | Unknown
2020 | 8 | 08/23/2020 10:30 AM | . . | . Hours, . Minutes | Southwestern Public Service | TRE | Texas panhandle, SE NM | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | Unknown | Unknown
2020 | 8 | 08/27/2020 1:15 AM | . . | . Hours, . Minutes | Entergy Corp | TRE | Texas: Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 615992
2020 | 8 | 08/27/2020 3:14 AM | . . | . Hours, . Minutes | Cleco Power LLC | SERC | Louisiana: Calcasieu Parish, Beauregard Parish, Iberia Parish, Acadia Parish, Evangeline Parish, Rapides Parish, St. Landry Parish, Vernon Parish; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | Unknown
2020 | 8 | 08/27/2020 5:00 AM | 09/03/2020 12:00 PM | 175 Hours, 0 Minutes | Louisiana Generating LLC | SERC | Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 200 | 50000
2020 | 8 | 08/27/2020 7:00 AM | 08/30/2020 7:00 PM | 84 Hours, 0 Minutes | City of Alexandria | SERC | Louisiana: Rapides Parish; | Complete operational failure or shut-down of the transmission and/or distribution of electrical system.-Severe Weather | 48 | Unknown
2020 | 8 | 08/27/2020 7:40 AM | 08/31/2020 3:33 AM | 91 Hours, 53 Minutes | American Electric Power - (SPP Reliability Region) | SERC | Louisiana: Texas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 47927
2020 | 8 | 08/27/2020 7:40 AM | 08/31/2020 7:40 AM | 96 Hours, 0 Minutes | Southwest Power Pool, Inc. | SERC | Louisiana: Texas: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 130000
2020 | 8 | 08/27/2020 12:02 PM | 08/27/2020 10:54 PM | 10 Hours, 52 Minutes | MISO | TRE | Texas: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 573 | Unknown
2020 | 8 | 08/27/2020 12:06 PM | . . | . Hours, . Minutes | Entergy Transmission Control Center - North | TRE | Texas: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 350 | Unknown
2020 | 8 | 08/27/2020 12:06 PM | 08/27/2020 10:49 PM | 10 Hours, 43 Minutes | Entergy - Transmission Operations Engineering | TRE | Texas: | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 581 | Unknown
2020 | 8 | 08/27/2020 12:44 PM | 08/27/2020 11:00 PM | 10 Hours, 16 Minutes | Entergy Services, Inc. | TRE | Texas: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | Unknown | Unknown
2020 | 8 | 08/27/2020 1:24 PM | . . | . Hours, . Minutes | Entergy Transmission Control Center - South | TRE | Texas: Montgomery County, Liberty County; | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 208 | Unknown
2020 | 8 | 08/27/2020 5:11 PM | 08/28/2020 10:00 AM | 16 Hours, 49 Minutes | ISO New England | NPCC | Connecticut: Massachusetts: New Hampshire: Maine: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 100 | 60687
2020 | 8 | 08/28/2020 4:27 PM | 08/28/2020 7:26 PM | 2 Hours, 59 Minutes | Bonneville Power Administration | WECC | Washington: Oregon: | Total generation loss, within one minute of: greater than or equal to 2,000 Megawatts in the Eastern or Western Interconnection or greater than or equal to 1,400 Megawatts in the ERCOT Interconnection.-Severe Weather | 0 | 0
2020 | 9 | 09/03/2020 1:46 PM | 09/03/2020 10:47 PM | 9 Hours, 1 Minutes | Snohomish County PUD No 1 | WECC | Washington: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | Unknown | Unknown
2020 | 9 | 09/05/2020 5:20 PM | 09/05/2020 8:37 PM | 3 Hours, 17 Minutes | California ISO | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 986 | Unknown
2020 | 9 | 09/05/2020 5:25 PM | 09/05/2020 8:55 PM | 3 Hours, 30 Minutes | Imperial Irrigation District | WECC | California: Imperial County; | Firm load shedding of 100 Megawatts or more implemented under emergency operational policy.-Severe Weather | 100 | 20000
2020 | 9 | 09/06/2020 4:00 PM | 09/06/2020 9:00 PM | 5 Hours, 0 Minutes | NV Energy | WECC | Nevada: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-Severe Weather | 8180 | 1400000
2020 | 9 | 09/06/2020 4:30 PM | 09/06/2020 9:05 PM | 4 Hours, 35 Minutes | California ISO | WECC | California: | Public appeal to reduce the use of electricity for purposes of maintaining the continuity of the Bulk Electric System.-System Operations | 1071 | Unknown
2020 | 9 | 09/06/2020 5:00 PM | 09/07/2020 3:00 AM | 10 Hours, 0 Minutes | Los Angeles Department of Water & Power | WECC | California: Los Angeles County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 72000
2020 | 9 | 09/06/2020 5:36 PM | 09/06/2020 7:27 PM | 1 Hours, 51 Minutes | Bonneville Power Administration | WECC | Washington: Oregon: California: | Total generation loss, within one minute of: greater than or equal to 2,000 Megawatts in the Eastern or Western Interconnection or greater than or equal to 1,400 Megawatts in the ERCOT Interconnection.-System Operations | 0 | 0
2020 | 9 | 09/07/2020 9:13 AM | 09/08/2020 6:00 AM | 20 Hours, 47 Minutes | Public Utility District No 1 of Okanogan County | WECC | Washington: | Complete operational failure or shut-down of the transmission and/or distribution of electrical system.-Natural Disaster | 80 | 21000
2020 | 9 | 09/07/2020 6:00 PM | 09/08/2020 6:00 PM | 24 Hours, 0 Minutes | Puget Sound Energy | WECC | Washington: Kitsap County, King County, Pierce County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 71500
2020 | 9 | 09/07/2020 7:05 PM | 09/08/2020 10:00 PM | 26 Hours, 55 Minutes | Portland General Electric Co | WECC | Oregon: Multnomah County, Washington County, Clackamas County, Marion County, Yamhill County, Polk County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 2859 | 103000
2020 | 9 | 09/07/2020 10:40 PM | 09/09/2020 5:24 PM | 42 Hours, 44 Minutes | Pacific Gas & Electric Co | WECC | California: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Transmission Interruption | 610 | 172000
2020 | 9 | 09/09/2020 11:22 AM | 09/09/2020 1:04 PM | 1 Hours, 42 Minutes | Idaho Power Company | WECC | Idaho: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Natural Disaster | 0 | 0
2020 | 9 | 09/15/2020 10:00 PM | 09/20/2020 3:00 PM | 113 Hours, 0 Minutes | Southern Company | SERC | Alabama: Florida: Georgia: Mississippi: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather/Transmission Interruption | 236 | 34096
2020 | 9 | 09/16/2020 3:00 AM | 09/21/2020 8:00 AM | 125 Hours, 0 Minutes | PowerSouth Energy Cooperative | SERC | Alabama: Baldwin County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 0 | 77600
2020 | 9 | 09/22/2020 10:02 AM | 09/22/2020 12:58 PM | 2 Hours, 56 Minutes | Pacific Gas & Electric Co | WECC | California: | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-System Operations | 8 | 4350
2020 | 9 | 09/27/2020 6:27 PM | 09/28/2020 3:17 PM | 20 Hours, 50 Minutes | Pacific Gas & Electric Co | WECC | California: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Natural Disaster | 337 | 102267
2020 | 9 | 09/30/2020 5:55 AM | 09/30/2020 11:30 PM | 17 Hours, 35 Minutes | ISO New England | NPCC | Connecticut: Maine: Rhode Island: Massachusetts: New Hampshire: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 155000
2020 | 10 | 10/07/2020 1:45 PM | 10/07/2020 1:59 PM | 0 Hours, 14 Minutes | Entergy - Transmission Operations Engineering | SERC | Louisiana: Orleans Parish; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 183 | 39089
2020 | 10 | 10/07/2020 4:00 PM | . . | . Hours, . Minutes | Niagara Mohawk Power Corporation (dba National Grid) | NPCC | New York: Onondaga County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 7500
2020 | 10 | 10/07/2020 6:50 PM | 10/09/2020 3:00 PM | 44 Hours, 10 Minutes | ISO New England | NPCC | Connecticut: Massachusetts: Maine: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 186600
2020 | 10 | 10/09/2020 10:44 AM | 10/09/2020 10:25 PM | 11 Hours, 41 Minutes | Public Service Company of Colorado | WECC | Colorado: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 10 | 10/09/2020 5:30 PM | 10/10/2020 6:00 PM | 24 Hours, 30 Minutes | Entergy Corp | SERC | Louisiana: Texas: Arkansas: Mississippi: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 477966
2020 | 10 | 10/09/2020 7:50 PM | 10/11/2020 3:09 PM | 43 Hours, 19 Minutes | Cleco Power LLC | SERC | Louisiana: Acadia Parish, Beauregard Parish, Calcasieu Parish, Evangeline Parish, Iberia Parish, Rapides Parish, Vernon Parish, Avoyelles Parish, Grant Parish, Natchitoches Parish, St. Landry Parish, St. Mary Parish, St. Tammany Parish; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 132200
2020 | 10 | 10/09/2020 8:00 PM | 10/10/2020 6:00 AM | 10 Hours, 0 Minutes | Lafayette Public Power Auth | SERC | Louisiana: Lafayette Parish; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 50000
2020 | 10 | 10/09/2020 8:00 PM | 10/15/2020 7:00 AM | 131 Hours, 0 Minutes | Louisiana Generating LLC | SERC | Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 200 | 50000
2020 | 10 | 10/10/2020 11:10 PM | 10/10/2020 11:15 PM | 0 Hours, 5 Minutes | Bonneville Power Administration | WECC | Washington: Oregon: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 10 | 10/12/2020 4:06 AM | 10/12/2020 4:07 AM | 0 Hours, 1 Minutes | Duke Energy Florida | FRCC | Florida: Polk County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 10 | 10/13/2020 1:14 PM | 10/14/2020 2:00 PM | 24 Hours, 46 Minutes | Puget Sound Energy | WECC | Washington: Whatcom County, King County, Pierce County, Thurston County, Kittitas County, Kitsap County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 76000
2020 | 10 | 10/14/2020 6:26 PM | 10/15/2020 1:11 PM | 18 Hours, 45 Minutes | American Electric Power - Texas | TRE | Texas: Pecos County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 18 | Unknown
2020 | 10 | 10/20/2020 6:48 PM | 10/20/2020 6:49 PM | 0 Hours, 1 Minutes | GridLiance Holdco NCR11783 | SERC | Illinois: Massac County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 10 | 10/23/2020 3:42 PM | 10/23/2020 11:11 PM | 7 Hours, 29 Minutes | Duke Energy Midwest | RF | Ohio: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | Unknown | Unknown
2020 | 10 | 10/23/2020 3:46 PM | 10/23/2020 11:03 PM | 7 Hours, 17 Minutes | CenterPoint Energy | TRE | Texas: Harris County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 55506
2020 | 10 | 10/24/2020 8:13 PM | 10/24/2020 10:52 PM | 2 Hours, 39 Minutes | Northern States Power Co | MRO | Minnesota: Hennepin County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 1 | 4
2020 | 10 | 10/25/2020 2:32 PM | 10/27/2020 6:00 PM | 51 Hours, 28 Minutes | Pacific Gas & Electric Co | WECC | California: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 1218 | 370000
2020 | 10 | 10/26/2020 9:28 AM | 10/26/2020 12:20 PM | 2 Hours, 52 Minutes | Public Service Company of Colorado | WECC | Colorado: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 75 | 13000
2020 | 10 | 10/26/2020 11:24 AM | 10/27/2020 4:43 PM | 29 Hours, 19 Minutes | Southern California Edison Co | WECC | California: Los Angeles County, Riverside County, San Bernardino County, Orange County, Kern County, Ventura County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 136833
2020 | 10 | 10/26/2020 1:00 PM | 11/07/2020 7:00 PM | 294 Hours, 0 Minutes | Oklahoma Gas & Electric Co | SPP RE | Oklahoma: Oklahoma County, Canadian County, Logan County, Cleveland County, Pottawatomie County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 447000
2020 | 10 | 10/27/2020 5:50 PM | . . | . Hours, . Minutes | Southwest Power Pool, Inc. | SPP RE | Oklahoma: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 235000
2020 | 10 | 10/28/2020 10:28 AM | 10/28/2020 10:29 AM | 0 Hours, 1 Minutes | ERCOT | TRE | Texas: | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather | Unknown | Unknown
2020 | 10 | 10/28/2020 11:53 AM | 10/28/2020 3:26 PM | 3 Hours, 33 Minutes | Southwestern Public Service | TRE | Texas: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | Unknown | Unknown
2020 | 10 | 10/28/2020 5:12 PM | 10/29/2020 4:30 PM | 23 Hours, 18 Minutes | Cleco Power LLC | SERC | Louisiana: St. Tammany Parish, St. Mary Parish; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 72707
2020 | 10 | 10/28/2020 6:00 PM | 10/29/2020 1:15 AM | 7 Hours, 15 Minutes | Entergy Corp | SERC | Louisiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 481268
2020 | 10 | 10/28/2020 9:37 PM | 11/02/2020 7:30 PM | 117 Hours, 53 Minutes | Southern Company | SERC | Alabama: Florida: Mississippi: Georgia: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 253 | 35478
2020 | 10 | 10/29/2020 2:00 AM | 10/31/2020 9:00 AM | 55 Hours, 0 Minutes | PowerSouth Energy Cooperative | SERC | Alabama: Baldwin County, Butler County, Clarke County, Conecuh County, Escambia County, Lee County, Lowndes County, Macon County, Montgomery County, Pike County, Russell County, Tallapoosa County, Talladega County, Washington County, Monroe County; Florida: Escambia County, Okaloosa County, Walton County, Santa Rosa County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 0 | 90000
2020 | 10 | 10/29/2020 8:15 AM | 10/31/2020 6:45 PM | 58 Hours, 30 Minutes | Duke Energy Carolinas | SERC | North Carolina: South Carolina: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 461580
2020 | 11 | 11/01/2020 6:00 PM | 11/01/2020 6:09 PM | 0 Hours, 9 Minutes | Cleveland Electric Illum Co | RF | Ohio: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 85677
2020 | 11 | 11/07/2020 5:40 PM | 11/07/2020 10:10 PM | 4 Hours, 30 Minutes | Public Service Company of Colorado | WECC | Colorado: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 11 | 11/14/2020 7:40 AM | . . | . Hours, . Minutes | California Department of Water Resources | WECC | California: San Bernardino County; | Fuel supply emergencies that could impact electric power system adequacy or reliability.-Fuel Supply Deficiency | 0 | 0
2020 | 11 | 11/15/2020 11:30 AM | 11/16/2020 3:25 AM | 15 Hours, 55 Minutes | American Electric Power - (RFC Reliability Region) | RF | Ohio: West Virginia: Virginia: Indiana: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 75000
2020 | 11 | 11/15/2020 12:30 PM | 11/18/2020 9:44 AM | 69 Hours, 14 Minutes | Detroit Edison Co | RF | Michigan: Huron County, Livingston County, Macomb County, Monroe County, Wayne County, Washtenaw County, Tuscola County, St. Clair County, Lapeer County, Oakland County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 150000
2020 | 11 | 11/15/2020 2:52 PM | 11/16/2020 5:59 AM | 15 Hours, 7 Minutes | Cleveland Electric Illum Co | RF | Ohio: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 96809
2020 | 11 | 11/15/2020 3:08 PM | 11/15/2020 10:30 PM | 7 Hours, 22 Minutes | Ohio Edison Co | RF | Ohio: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 123361
2020 | 11 | 11/15/2020 3:37 PM | 11/17/2020 12:15 PM | 44 Hours, 38 Minutes | Consumers Energy Co | RF | Michigan: Iosco County, Oscoda County, Ogemaw County, Livingston County, Ionia County, Barry County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 57327
2020 | 11 | 11/15/2020 11:05 PM | 11/16/2020 5:00 AM | 5 Hours, 55 Minutes | ISO New England | NPCC | Connecticut: Massachusetts: Maine: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 62408
2020 | 11 | 11/30/2020 2:33 PM | 11/30/2020 5:20 PM | 2 Hours, 47 Minutes | El Paso Electric | TRE | Texas: El Paso County; | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 0 | 0
2020 | 11 | 11/30/2020 4:24 PM | 12/01/2020 2:25 PM | 22 Hours, 1 Minutes | ISO New England | NPCC | Massachusetts: Maine: Connecticut: Rhode Island: Vermont: New Hampshire: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 116000
2020 | 12 | 12/01/2020 12:32 PM | 12/01/2020 10:50 PM | 10 Hours, 18 Minutes | Cleveland Electric Illum Co | RF | Ohio: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 170190
2020 | 12 | 12/03/2020 12:44 AM | 12/05/2020 11:03 AM | 58 Hours, 19 Minutes | San Diego Gas & Electric Co | WECC | California: San Diego County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 93 | 73000
2020 | 12 | 12/03/2020 9:01 AM | 12/03/2020 9:03 AM | 0 Hours, 2 Minutes | Public Service Company of Colorado | WECC | Colorado: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | 89 | 0
2020 | 12 | 12/03/2020 10:57 AM | 12/04/2020 3:02 PM | 28 Hours, 5 Minutes | Southern California Edison Co | WECC | California: Kern County, Los Angeles County, Orange County, Riverside County, San Bernardino County, San Diego County, Tulare County, Ventura County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 132 | 51686
2020 | 12 | 12/05/2020 4:40 PM | . . | . Hours, . Minutes | ISO New England | NPCC | Connecticut: Massachusetts: Maine: New Hampshire: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 271231
2020 | 12 | 12/07/2020 6:10 PM | 12/08/2020 9:09 PM | 26 Hours, 59 Minutes | Southern California Edison Co | WECC | California: Kern County, Los Angeles County, Orange County, Riverside County, San Bernardino County, Ventura County, Tulare County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | 286 | 76234
2020 | 12 | 12/13/2020 6:47 AM | 12/13/2020 7:36 AM | 0 Hours, 49 Minutes | Southern California Edison Co | WECC | California: | Uncontrolled loss of 200 Megawatts or more of firm system loads for 15 minutes or more from a single incident for entities with previous year's peak demand less than or equal to 3,000 Megawatts.-System Operations | 298 | 159239
2020 | 12 | 12/16/2020 11:20 PM | 12/17/2020 7:20 AM | 8 Hours, 0 Minutes | American Electric Power - (SPP Reliability Region) | MRO | Oklahoma: | Unexpected Transmission loss within its area, contrary to design, of three or more Bulk Electric System Facilities caused by a common disturbance (excluding successful automatic reclosing).-Transmission Interruption | Unknown | Unknown
2020 | 12 | 12/17/2020 8:07 AM | 12/17/2020 8:32 AM | 0 Hours, 25 Minutes | Pacific Gas & Electric Co | WECC | California: | Electrical System Separation (Islanding) where part or parts of power grid remain(s) operational in an otherwise blacked out area or within the partial failure of an integrated electrical system.-Severe Weather | 35 | 17000
2020 | 12 | 12/24/2020 11:40 PM | . . | . Hours, . Minutes | Exelon Corporation/PECO | RF | Pennsylvania: Bucks County, Chester County, Delaware County, Montgomery County, Philadelphia County, York County; | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather/Distribution Interruption | Unknown | 68114
2020 | 12 | 12/25/2020 7:55 AM | 12/25/2020 4:45 PM | 8 Hours, 50 Minutes | ISO New England | NPCC | Connecticut: Maine: New Hampshire: Massachusetts: Rhode Island: Vermont: | Loss of electric service to more than 50,000 customers for 1 hour or more.-Severe Weather | Unknown | 19000
Note: Customers affected are estimates and are preliminary. Source: Form OE-417, 'Electric Emergency Incident and Disturbance Report.'